## Sch 3_North
Sl. No. | Name of DRTB centre | State | Zone | Different sections of the DRTB centre (as written in checklist) | Updated Section labels | Facility Length (in feet) | Facility Width (in feet) | Facility Height (in feet) | Total facility area (in sqft) | Total facility volume (in cubic feet) | Total facility volume (in cubic meter) | Total volumetric doses (12mW/m3) (in Watt) | Fixture output (_____) Number | Fixture output (_____) Number | Fixture output (_____) Number | Fixture output (_____) Number | Fixture output (_____) Number | Fixture output (_____) Number | Total no of fixtures proposed (T=N+O+P+Q+R+S) | Remarks
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | F11 DRTB WARD | DR TB Wards | 96.7 | 20.9 | 11.9 | 2021.03 | 24050.257 | 681.0274 | 8.1723 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | F12 DRTB WARD | DR TB Wards | 96.7 | 20.9 | 11.9 | 2021.03 | 24050.257 | 681.0274 | 8.1723 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | F7 DRTB WARD | DR TB Wards | 96.7 | 20.9 | 11.9 | 2021.03 | 24050.257 | 681.0274 | 8.1723 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | F8 DRTB WARD | DR TB Wards | 96.7 | 20.9 | 11.9 | 2021.03 | 24050.257 | 681.0274 | 8.1723 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | TRIAL WARD 1 | DS TB Wards | 48 | 22.8 | 12 | 1094.4 | 13132.8 | 371.8795 | 4.4626 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | TRIAL WARD 2 | DS TB Wards | 48 | 22.8 | 12 | 1094.4 | 13132.8 | 371.8795 | 4.4626 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | M12 MDR WARD Part 2 | DR TB Wards | 112 | 21 | 10 | 2352 | 23520 | 666.0122 | 7.9921 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | M1 DSTB WARD Part 2 | DS TB Wards | 112 | 21 | 10 | 2352 | 23520 | 666.0122 | 7.9921 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | M12 MDR WARD Part 1 | DR TB Wards | 96.8 | 21.7 | 10.1 | 2100.56 | 21215.656 | 600.7605 | 7.2091 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | M1 DSTB WARD Part 1 | DS TB Wards | 96.8 | 21.7 | 10.1 | 2100.56 | 21215.656 | 600.7605 | 7.2091 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | OPD hall | OPD/ Waiting area | 23 | 24 | 10 | 552 | 5520 | 156.309 | 1.8757 | [6 empty] | 0
1 | Rajan Babu Institute of Pulmonary Medicine and Tuberculosis | Delhi | North | ODD 6 | OPD/ Waiting area | 13.8 | 18.8 | 10.7 | 259.44 | 2776.008 | 78.6078 | 0.94329 | [6 empty] | 0
2 | Dr. Rajendra Prasad Government Medical College | Himachal Pradesh | North | OPD Registration area | OPD/ Waiting area | 35.6 | 40 | 10.9 | 1424 | 15521.6 | 439.5228 | 5.2743 | [6 empty] | 0
3 | Government Chest Disease Hospital, Jammu​ | J&K | North | Ragistration Waiting Area | OPD/ Waiting area | 34 | 18 | 10 | 612 | 6120 | 173.2991 | 2.0796 | [6 empty] | 0
3 | Government Chest Disease Hospital, Jammu​ | J&K | North | MALE DRTB WARD | DR TB Wards | 60 | 23 | 11 | 1380 | 15180 | 429.8497 | 5.1582 | [6 empty] | 0
3 | Government Chest Disease Hospital, Jammu​ | J&K | North | FEMALE DRTB WARD | DR TB Wards | 60 | 23 | 11 | 1380 | 15180 | 429.8497 | 5.1582 | [6 empty] | 0
3 | Government Chest Disease Hospital, Jammu​ | J&K | North | OPD Waiting cum Passage area | OPD/ Waiting area | 40 | 7 | 10 | 280 | 2800 | 79.2872 | 0.95145 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | OPD Waiting Area | OPD/ Waiting area | 74 | 10 | 10 | 740 | 7400 | 209.5447 | 2.5145 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | MALE & FEMALE DRTB WARD | DR TB Wards | 49 | 19 | 10 | 931 | 9310 | 263.6298 | 3.1636 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | Radiology Waiting | RADIOLOGY WAITING AREA | 40 | 10 | 10 | 400 | 4000 | 113.2674 | 1.3592 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | OPD 1 | OPD/ Waiting area | 14 | 12 | 10 | 168 | 1680 | 47.5723 | 0.57087 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | OPD 2 | OPD/ Waiting area | 14 | 12 | 10 | 168 | 1680 | 47.5723 | 0.57087 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | OPD 3 | OPD/ Waiting area | 14 | 12 | 10 | 168 | 1680 | 47.5723 | 0.57087 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | MALE & FEMALE DRTB WARD Extn 1 | DR TB Wards | 15 | 19 | 10 | 285 | 2850 | 80.703 | 0.96844 | [6 empty] | 0
4 | Govt. Chest Disease Hospital, Srinagar | J&K | North | MALE & FEMALE DRTB WARD Extn 2 | DR TB Wards | 15 | 19 | 10 | 285 | 2850 | 80.703 | 0.96844 | [6 empty] | 0
5 | SNM Hospital, Leh | Ladakh | North | Common Waiting Area 2 | Registration/ waiting area | 62.5 | 39.9 | 19.8 | 2493.75 | 49376.25 | 1398.1797 | 16.7782 | [6 empty] | 0
5 | SNM Hospital, Leh | Ladakh | North | Common Waiting Area 1 | Registration/ waiting area | 62.5 | 16.5 | 8.8 | 1031.25 | 9075 | 256.9754 | 3.0837 | [6 empty] | 0
5 | SNM Hospital, Leh | Ladakh | North | OPD Waiting Area | OPD/ Waiting area | 47 | 23.9 | 9.2 | 1123.3 | 10334.36 | 292.6365 | 3.5116 | [6 empty] | 0
5 | SNM Hospital, Leh | Ladakh | North | TB-OPD | OPD/ Waiting area | 15.7 | 12.4 | 9.2 | 194.68 | 1791.056 | 50.7171 | 0.6086 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | XDR Ward | DR TB Wards | 21 | 11 | 11 | 231 | 2541 | 71.9531 | 0.86344 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | TB OPD 1 (Room no 7) | OPD/ Waiting area | 15 | 14 | 11.5 | 210 | 2415 | 68.3852 | 0.82062 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | TB OPD 4 (Room no 8) | OPD/ Waiting area | 15 | 14 | 11.5 | 210 | 2415 | 68.3852 | 0.82062 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | TB Lab | TB Lab | 15 | 14 | 11.5 | 210 | 2415 | 68.3852 | 0.82062 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | MALE DRTB Ward | DR TB Wards | 21 | 21 | 11 | 441 | 4851 | 137.365 | 1.6484 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | FEMALE DRTB WARD | DR TB Wards | 21 | 21 | 11 | 441 | 4851 | 137.365 | 1.6484 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | MALE DSTB Ward | DS TB Wards | 21 | 21 | 11 | 441 | 4851 | 137.365 | 1.6484 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | Bronchoscopy Room | Bronchoscopy | 21 | 15 | 11.5 | 315 | 3622.5 | 102.5778 | 1.2309 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | FEMALE DSTB WARD | DS TB Wards | 31 | 21 | 11 | 651 | 7161 | 202.7769 | 2.4333 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | Registration and OPD waiting area | Registration/ waiting area | 30 | 30 | 11.5 | 900 | 10350 | 293.0794 | 3.517 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | TB OPD 2 (Room no 4) | OPD/ Waiting area | 21 | 14 | 11.5 | 294 | 3381 | 95.7393 | 1.1489 | [6 empty] | 0
6 | GGSMCH, Faridkot | Punjab | North | TB OPD 3 (Room no 15) | OPD/ Waiting area | 21 | 14 | 11.5 | 294 | 3381 | 95.7393 | 1.1489 | [6 empty] | 0
7 | TB HOSPITAL, PATIALA | Punjab | North | DRTB WARD | DR TB Wards | 61.6 | 30.5 | 11.7 | 1878.8 | 21981.96 | 622.4598 | 7.4695 | [6 empty] | 0
7 | TB HOSPITAL, PATIALA | Punjab | North | BRONCHOSCOPY | Bronchoscopy | 17.8 | 14.9 | 12.7 | 265.22 | 3368.294 | 95.3795 | 1.1446 | [6 empty] | 0
8 | TB sanatorium, Government Medical College, Amritsar | Punjab | North | DRTB male and female | DR TB Wards | 55 | 19 | 14.92 | 1045 | 15591.4 | 441.4993 | 5.298 | [6 empty] | 0
9 | Dharampur | Himachal Pradesh | North | DRTB FEMALE WARD 1 | DR TB Wards | 24 | 18 | 9.4 | 432 | 4060.8 | 114.9891 | 1.3799 | [6 empty] | 0
9 | Dharampur | Himachal Pradesh | North | DRTB FEMALE WARD 2 | DR TB Wards | 24 | 18 | 9.4 | 432 | 4060.8 | 114.9891 | 1.3799 | [6 empty] | 0
9 | Dharampur | Himachal Pradesh | North | DSTB FEMALE WARD | DS TB Wards | 94 | 10.5 | 9.2 | 987 | 9080.4 | 257.1283 | 3.0855 | [6 empty] | 0
9 | Dharampur | Himachal Pradesh | North | DRTB MALE WARD | DR TB Wards | 62 | 10.5 | 9.2 | 651 | 5989.2 | 169.5953 | 2.0351 | [6 empty] | 0
9 | Dharampur | Himachal Pradesh | North | DSTB MALE WARD | DS TB Wards | 51 | 16.9 | 9.2 | 861.9 | 7929.48 | 224.5379 | 2.6945 | [6 empty] | 0
9 | Dharampur | Himachal Pradesh | North | OPD-1 | OPD/ Waiting area | 21 | 14 | 9.7 | 294 | 2851.8 | 80.754 | 0.96905 | [6 empty] | 0
10 | Hamirpur | Himachal Pradesh | North | OPD Waiting Area | OPD/ Waiting area | 23 | 28.5 | 9.2 | 655.5 | 6030.6 | 170.7676 | 2.0492 | [6 empty] | 0
10 | Hamirpur | Himachal Pradesh | North | Registration waiting Area | Registration/ waiting area | 46 | 17.8 | 9.2 | 818.8 | 7532.96 | 213.3097 | 2.5597 | [6 empty] | 0
11 | Sonipat | Haryana | North | DRTB MALE WARD | DR TB Wards | 22.8 | 30 | 12.36 | 684 | 8454.24 | 239.3974 | 2.8728 | [6 empty] | 0
11 | Sonipat | Haryana | North | DRTB FEMALE WARD | DR TB Wards | 22.8 | 30 | 12.36 | 684 | 8454.24 | 239.3974 | 2.8728 | [6 empty] | 0
11 | Sonipat | Haryana | North | DSTB MALE WARD | DS TB Wards | 22.8 | 30 | 12.36 | 684 | 8454.24 | 239.3974 | 2.8728 | [6 empty] | 0
11 | Sonipat | Haryana | North | DSTB FEMALE WARD | DS TB Wards | 22.8 | 30 | 12.36 | 684 | 8454.24 | 239.3974 | 2.8728 | [6 empty] | 0
12 | Chamba | Himachal Pradesh | North | MALE+Female DSTB Ward | DS TB Wards | 76 | 20 | 11.5 | 1520 | 17480 | 494.9785 | 5.9397 | [6 empty] | 0
12 | Chamba | Himachal Pradesh | North | DRTB Male Ward | DR TB Wards | 16 | 9 | 11 | 144 | 1584 | 44.8539 | 0.53825 | [6 empty] | 0
12 | Chamba | Himachal Pradesh | North | DRTB Male Ward | DR TB Wards | 16 | 9 | 11 | 144 | 1584 | 44.8539 | 0.53825 | [6 empty] | 0
12 | Chamba | Himachal Pradesh | North | Existing TB OPD 1 | OPD/ Waiting area | 16 | 10 | 10.2 | 160 | 1632 | 46.2131 | 0.55456 | [6 empty] | 0
12 | Chamba | Himachal Pradesh | North | Existing TB OPD 2 | OPD/ Waiting area | 16 | 10 | 10.2 | 160 | 1632 | 46.2131 | 0.55456 | [6 empty] | 0
12 | Chamba | Himachal Pradesh | North | Existing TB OPD 3 | OPD/ Waiting area | 16 | 11 | 10.2 | 176 | 1795.2 | 50.8344 | 0.61001 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward 3 (Emergency) | DR TB Wards | 74 | 16.3 | 11 | 1206.2 | 13268.2 | 375.7136 | 4.5086 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward no 4 (DRTB) | DR TB Wards | 75 | 17 | 11 | 1275 | 14025 | 397.1438 | 4.7657 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward no 5 (DRTB) | DR TB Wards | 75 | 17 | 11 | 1275 | 14025 | 397.1438 | 4.7657 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward no 6 (DSTB Female) | DS TB Wards | 79 | 20 | 10.8 | 1580 | 17064 | 483.1987 | 5.7984 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward no 7 | DS TB Wards | 75 | 34 | 10.8 | 2550 | 27540 | 779.846 | 9.3582 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward 14 (Pediatric TB Ward) | Pediatric Ward | 17.6 | 17.6 | 11 | 309.76 | 3407.36 | 96.4857 | 1.1578 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward 14 (Pediatric TB Ward) | Pediatric Ward | 17.6 | 17.6 | 11 | 309.76 | 3407.36 | 96.4857 | 1.1578 | [6 empty] | 0
13 | NITRD | Delhi | North | Ward no 11 | TB ward | 80 | 33 | 11 | 2640 | 29040 | 822.3212 | 9.8679 | [6 empty] | 0
13 | NITRD | Delhi | North | DRTB OPD | OPD/ Waiting area | 24 | 8.8 | 11 | 211.2 | 2323.2 | 65.7857 | 0.78943 | [6 empty] | 0
13 | NITRD | Delhi | North | Ground floor waiting E1 side (front of Registration) | Registration/ waiting area | 56.6 | 29.4 | 11.1 | 1664.04 | 18470.844 | 523.0361 | 6.2764 | [6 empty] | 0
13 | NITRD | Delhi | North | Ground floor waiting E2 side (waiting area of Radiology, Minor OT and Blood sample collection) | Registration/ waiting area | 93 | 14.7 | 11.1 | 1367.1 | 15174.81 | 429.7028 | 5.1564 | [6 empty] | 0
13 | NITRD | Delhi | North | Ground floor waiting E3 side | Registration/ waiting area | 32.4 | 29.4 | 11.1 | 952.56 | 10573.416 | 299.4058 | 3.5929 | [6 empty] | 0
13 | NITRD | Delhi | North | 1st floor waiting E1 side (front of Registration) | OPD/ Waiting area | 108 | 14.7 | 11.1 | 1587.6 | 17622.36 | 499.0097 | 5.9881 | [6 empty] | 0
13 | NITRD | Delhi | North | 1st floor waiting E2 side (front of Registration) | OPD/ Waiting area | 108 | 14.7 | 11.1 | 1587.6 | 17622.36 | 499.0097 | 5.9881 | [6 empty] | 0
13 | NITRD | Delhi | North | Ground floor waiting E3 side (front of Registration) | OPD/ Waiting area | 32.4 | 29.4 | 11.1 | 952.56 | 10573.416 | 299.4058 | 3.5929 | [6 empty] | 0
13 | NITRD | Delhi | North | Ground floor waiting E4 side (front of Registration) | OPD/ Waiting area | 32.4 | 29.4 | 11.1 | 952.56 | 10573.416 | 299.4058 | 3.5929 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 01 | OPD/ Waiting area | 15 | 10.8 | 11 | 162 | 1782 | 50.4606 | 0.60553 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 02 | OPD/ Waiting area | 15 | 10.8 | 11 | 162 | 1782 | 50.4606 | 0.60553 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 03 | OPD/ Waiting area | 15 | 10.8 | 11 | 162 | 1782 | 50.4606 | 0.60553 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 04 | OPD/ Waiting area | 15 | 10.8 | 11 | 162 | 1782 | 50.4606 | 0.60553 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 13 | OPD/ Waiting area | 14 | 9 | 11 | 126 | 1386 | 39.2471 | 0.47097 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 14 | OPD/ Waiting area | 14 | 8 | 11 | 112 | 1232 | 34.8864 | 0.41864 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 17 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 18 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 19 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 21 | OPD/ Waiting area | 14 | 16.4 | 10 | 229.6 | 2296 | 65.0155 | 0.78019 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 28 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 29 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 30 | OPD/ Waiting area | 10 | 10.8 | 11 | 108 | 1188 | 33.6404 | 0.40368 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 31 | OPD/ Waiting area | 8 | 10.8 | 11 | 86.4 | 950.4 | 26.9123 | 0.32295 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 32 | OPD/ Waiting area | 10 | 10.8 | 11 | 108 | 1188 | 33.6404 | 0.40368 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 33 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 34 | OPD/ Waiting area | 14 | 10.8 | 11 | 151.2 | 1663.2 | 47.0966 | 0.56516 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 16 | OPD/ Waiting area | 21.6 | 14.76 | 11 | 318.816 | 3506.976 | 99.3065 | 1.1917 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 5 Physiotherapy room | OPD/ Waiting area | 22.4 | 21.6 | 11 | 483.84 | 5322.24 | 150.7091 | 1.8085 | [6 empty] | 0
13 | NITRD | Delhi | North | Registration Room | OPD/ Waiting area | 22 | 10.8 | 11 | 237.6 | 2613.6 | 74.0089 | 0.88811 | [6 empty] | 0
13 | NITRD | Delhi | North | Room no 10 (Minor OT) ground floor | OPD/ Waiting area | 16.48 | 14.48 | 11 | 238.6304 | 2624.9344 | 74.3299 | 0.89196 | [6 empty] | 0
** The bidders should provide combinations of two or more fixtures of which one should be < 0.5 W and other fixture/s being > 0.5 W (but not more than 1 W)) to match with the total volumetric dose requirement (As mentioned in the column M of the Annexure) in respective areas where they will be installed. Kindly ensure that the total proposed volumetric dosing should not vary +/- 15% from the required volumetric dosing (as per Colum M) as detailed in the schedule-wise annexures.